SMOKE ALARM/WOOD-BURNING APPLIANCE CERTIFICATE

Address:_________________________________  Owner: _____________________________________

I/we hereby certify that:

There are __________________ operational smoke detectors in our home (at least one on each floor is recommended).

Smoke alarms have been tested as a result of: (check one)

_____Routine test and maintenance      _____ Annual test and maintenance    _____ Change of ownership/tenancy

A. ROUTINE TEST AND MAINTENANCE 						                                            YES           NO

1) Each smoke alarm is securely fastened to the wall or ceiling.						____	   ____

2) Each smoke alarm shows no evidence of physical damage, paint application,				____	   ____
    or excessive grease and dirt accumulations.

3) Ventilation holes on the smoke alarms are clean and free of obstructions.				____	   ____

4) Each smoke alarm signal sounds when the device is operated.						____	   ____

B. ANNUAL TEST AND MAINTENANCE

1) Each smoke alarm is securely fastened to the wall or ceiling.						____	   ____

2) Each smoke alarm shows no evidence of physical damage, paint application,

or excessive grease and dirt accumulations.						  		____	   ____ 
3) Each smoke alarm has been vacuumed.								____	   ____

4) Each smoke alarm is powered by: ___AC wiring; ___standard battery; ___ long life battery;___ 
     that expires in the year_______. 
     For battery operated smoke alarms: 	
     Battery has been replaced and securely connected to the clips ____
     Battery is of the type as recommended by the manufacturer ____
     Battery terminals are free of corrosion and signs of leakage ____

C. WOOD-BURNING APPLIANCES (includes fireplaces and woodstoves).				                YES           NO

1) We have a wood burning appliance 									____	   ____
2) The wood-burning appliance has received its annual inspection and cleaning by a reputable		____	   ____
    certified company.
3) The wood burning appliance shows no evidence of physical damage, excessive grease, dirt, 
   or creosote accumulations.										____	   ____
4) The chimney has received its annual inspection and cleaning by a reputable certified company.
5) The chimney shows no evidence of physical damage, excessive grease, dirt, creosote accumulations.	____	   ____

DATE: _________________________________________________

SIGNATURE:_____________________________________________

SIGNATURE:____________________________________________